# Physics 4B

Lab Practical Quiz: Use of a Multimeter 
 "The Seeing Eye Dog of Electricity"

Name:________________

This quiz is to be taken before your regularly scheduled lab day for the week of Feb 14th.   It is late if taken on due date.  You may practice anytime.

Examiner will look for following techniques…

__Taking care during meter connection (power supply at minimum or disconnected) .

__Turning off meter when finished. No function changes while meter is in circuit.

__Proper placement of meter in circuit (voltmeter in parallel with load, ammeter in series  with load).

__Proper use of meter as ohmmeter (disconnect R from circuit).

__Proper position of AC/DC mode switches.

CARRY OUT THE FOLLOWING STEPS IN THE PRESENCE OF INSTRUCTOR OR DESIGNATED EXAMINER (Mrs. Shang or Dr. Harris)

The symbol "O" will be checked off by examiner when correctly completed.

- Wire one lamp to one battery.  After estimating maximum current in circuit (show calculation below assuming that a lamp has a resistance greater than 3.0 ohms), correctly measure current at a point in circuit as directed.

Display reading _____, give unit_____.

- Measure the resistance of an element given to you by examiner:

Display reading _____, give unit _____.

- Wire the circuit correctly as shown:

The lamps are in series/parallel (circle one)

The batteries are in series/parallel (circle one)

- Wire the batteries in series, and connect them to the lamps in parallel.

- Correctly measure the potential difference across a specified lamp or battery (include correct units). Display reading _____, give unit _____.

- Turn off meter.

_______________ (examiner signature),    Quiz date______ late/on time

Use of Instek GDM 393A Multimeter

General…

Overrange is indicated by -1 OL or 1 OL on display.

Test lead convention (black connects to COM).  Set meter to AUTO range.

Never change function (V to I, etc) while meter is in circuit.

1. For PD...

a) Choose correct function (V- or V~, Vdc or Vac). Connect leads to V/COM input.  Connect leads across (in parallel with) load.   Use care...touch leads to circuit before connecting them to circuit.

b) Polarity...+ terminal of meter closest to + terminal of power supply.

2. For CURRENT...

a) Choose correct function (A). Connect leads to mA/COM input.  Toggle AC/DC key until correct mode is displayed.

b) With power supply disconnected or off, insert meter into circuit (in series with load).

In this (ammeter) mode, the meter has a very low internal resistance and can easily be damaged.  Use care, know that you are on safe scale; TOUCH leads to circuit before connecting them to circuit.

c) Polarity...+ terminal of meter closest to + terminal of power supply.

3. For RESISTANCE...

a) Choose correct function (Ω). Disconnect resistor from circuit.

b) Never attempt to measure the resistance of a battery, or a capacitor.  Never measure resistance of a resistor while it is in a circuit.  Beeper may sound for low resistances.

# Text boxes

Any evidence that you are trying to learn how to use the meter while taking quiz will terminate quiz.

Lamp

Lamp

Batteries

Estimate of maximum current...

I = V/R = (          )/(           ) = ___________ A = ___________ mA