SUPPLEMENT: OPERATING INSTRUCTIONS - MULTIMETER

A

A

Lab Practical Quiz: Use of a Multi-meter

"The Seeing Eye Dog of Electricity"

Name:________________________________

This quiz is to be taken before your next regularly scheduled lab day for the week.

It is late if taken ON the due date.  You may practice at any time before the deadline as often as you need.

Any evidence that you are trying to learn how to use the meter while taking quiz will terminate quiz.

Examiner will look for following techniques…

__Taking care during meter connection (power supply at minimum or disconnected) .

__Turning off the meter when finished.

__No function changes while meter is in circuit.

__Proper placement of meter in circuit (voltmeter in parallel with load, ammeter in series  with load).

__Proper use of meter as ohmmeter (disconnect R from circuit).

__Proper position of AC/DC mode switches.

CARRY OUT THE FOLLOWING STEPS IN THE PRESENCE OF INSTRUCTOR OR DESIGNATED EXAMINER (Mr. Randall, or Mrs. Shang)

The circles at the right of each task will be checked off by the examiner when the task has been correctly completed.

- Wire one lamp to one battery.  After estimating maximum current in circuit (show calculation below, assuming that a lamp has a resistance greater than 3.0 ohms), correctly measure current at a point in circuit as directed.

Display reading _____, give unit_____.

Estimate of maximum current...

I = V/R = (          )/(           ) = ___________ A = ___________ mA

- Measure the resistance of an element given to you by examiner:

Display reading _____, give unit _____.

- Wire the circuit correctly as shown:

Lamp

Lamp

Batteries

Circle one: The lamps are in …	series		parallel

Circle one: The batteries are in …	series		parallel

- Wire the batteries in series, and connect them to the lamps in parallel.

- Correctly measure the potential difference across a specified lamp or battery (include correct units).

Display reading _____, give unit _____.

- Turn off meter.

_______________ (examiner signature),    Quiz date______ late/on time