Physics 2A

Experiment 9:  Constant Volume Thermometer 
Introduction:

The principle objective of this experiment is to use a constant volume thermometer to measure the Celsius value of the absolute zero of temperature.  You should read about this important idea before beginning.

Theory:

Absolute Zero

The linear relationship between the pressure and temperature of a confined gas at constant volume is of important theoretical interest and can be used to approximate the absolute zero of temperature.  By collecting pressure and temperature data for such a system and plotting it on an appropriate coordinate system, extrapolation can then be used to obtain a value for absolute zero (0K).  The success of this method is dependent on air behaving like an ideal gas over the range of data, hence:

                                                                                                                     P

PV = nRT

P = (nR/V)T

P = kT

(constant V and n of gas)

T
[image: image1.png]Setups:

Experimental

Part 1

Part 2





Procedure:

1. Turn on the hot plate (highest setting), fill a one liter beaker with enough water to cover the glass bulb containing the gas, and heat the water close to boiling.

2. While the water is heating, measure atmospheric pressure using the barometer located on the wall at the front of the room.  If you do not know how to correctly use this important instrument, ask for help.

3. When the water is sufficiently hot, fill the copper kettle full enough to cover the glass bulb.  CAREFUL:  use hot pads to avoid injury.

4. Using the Hg reservoir control knob, adjust the height of the Hg on the left side by either raising or lowering the Hg level to the top of the clear plastic marker (this will establish the constant volume of the gas).  The top of the Hg is an inverted meniscus and should be referenced at the very top.

5. Quickly read the water temperature and record, and read both the height of the Hg on the left and right sides.  Be sure to read and record the correct number of significant figures.

6. Now drain some water from the kettle and refill with cold water.  Drain enough to lower the temperature approximately 5( Celsius.  This will take some careful trial and error.

7. Repeat steps 4 and 5.  You do not have to reread the height of Hg on the left side since this is fixed for the entire experiment.

8. Repeat steps 6 and 7 until the water temperature reaches that of the cold tap water.  This should result in between 15 and 20 data points.

9. If you would like to collect more temperature/pressure data, first obtain some ice from Ms. Shang, then mix the ice with water to add to the kettle after draining a sufficient amount of water and continue collecting data down to approximately 0( Celsius.

Data:

Table 1:  Pressure vs. Temperature
	Trial
	T (C)
	Hr (cm Hg)
	P (cm Hg)

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	6
	
	
	

	7
	
	
	

	8
	
	
	

	9
	
	
	

	10
	
	
	

	11
	
	
	

	12
	
	
	

	13
	
	
	

	14
	
	
	

	15
	
	
	

	16
	
	
	

	17
	
	
	

	18
	
	
	

	19
	
	
	

	20
	
	
	

	21
	
	
	


Patm:__________________

HgL:________________      
Analysis & Results:
1.
Show a sample calculation of the gas pressure for a particular temperature.

2.
Plot a graph of P vs. T for the Part 1 data, evaluate the slope, y-intercept and write an equation for P as a function of T (C).  Now use this equation to calculate a value for the temperature when the gas pressure goes to zero.  How does this value compare to the Celsius equivalent to absolute zero?  Calculate a % error.  Show all your work below and attach your graph to this report.

Absolute zero = _____________________°C
% error = __________________

Conclusions:
4

